## Overview & Data
Radiation Pattern Testing
Date: | 2017-12-27 | DUT Label: | asdf
Customer: | dsaf | DUT Serial Number: | fasdf
Tested By: | ds
Comments:
Test Data | [6 empty] | Test Setup
| X-Y Plane (Rotation on Z-Axis) | X-Y Plane (Rotation on Z-Axis) | SN: Frequency: 100.0MHz RX Polarity: Vertical | SN: Frequency: 100.0MHz RX Polarity: Vertical | asdf SN: fasdf Frequency: 100.0MHz RX Polarity: Horizontal | asdf SN: fasdf Frequency: 100.0MHz RX Polarity: Horizontal | Test Frequency (Hz): | 100000000
Max Gain (dBi): | [6 empty] | Frequency Span (Hz): | 200000
Average Gain (dBi): | [6 empty] | Testing Distance (m): | 3
Angle (degrees) | RAW | CALIBRATED | RAW | CALIBRATED | RAW | CALIBRATED | Sweep Time (s): | 0.025
0 | -88.2578 | -66.2676 | -88.867 | -66.8768 | -88.8445 | -66.8543 | Calibration
11.25 | -88.6324 | -66.6422 | -88.7324 | -66.7422 | -88.4901 | -66.4999 | Input Power (dBm): | 0
22.5 | -88.2489 | -66.2587 | -88.7633 | -66.773 | -88.647 | -66.6567 | PreAmplifier Gain (dB): | 0
33.75 | -88.7367 | -66.7464 | -88.8192 | -66.829 | -86.887 | -64.8968 | Tx Cable Loss (dB): | 0
45 | -87.7705 | -65.7803 | -88.5216 | -66.5314 | -88.5122 | -66.522 | DUT Gain (dBi): | 0
56.25 | -88.6172 | -66.627 | -89.0869 | -67.0967 | -88.5235 | -66.5333 | FSPL (dB): | -21.9902
67.5 | -89.5709 | -67.5807 | -89.4657 | -67.4755 | -87.3838 | -65.3936 | Calibrated Antenna Gain (dBi): | 0
78.75 | -87.8244 | -65.8342 | -88.7129 | -66.7227 | -88.753 | -66.7628 | Rx Cable Loss (dB): | 0
90 | -87.6619 | -65.6717 | -88.867 | -66.8768 | -88.6313 | -66.6411 | Total (dB): | -21.9902
101.25 | -88.7297 | -66.7395 |  |  | -88.4077 | -66.4175
112.5 | -87.8698 | -65.8796 |  |  | -88.2136 | -66.2234
123.75 | -88.1947 | -66.2045 |  |  | -88.2491 | -66.2589
135 | -88.2927 | -66.3025 |  |  | -88.2281 | -66.2379
146.25 | -88.0941 | -66.1039 |  |  | -88.211 | -66.2208
157.5 | -88.5012 | -66.511 |  |  | -88.6575 | -66.6673
168.75 | -88.348 | -66.3578 |  |  | -88.5129 | -66.5227
180 | -88.5781 | -66.5879 |  |  | -88.8445 | -66.8543
191.25 | -87.6749 | -65.6847
202.5 | -88.7117 | -66.7215
213.75 | -88.5823 | -66.5921
225 | -87.4606 | -65.4704
236.25 | -89.1286 | -67.1384
247.5 | -88.8922 | -66.902
258.75 | -88.5671 | -66.5769
270 | -88.8144 | -66.8242
281.25 | -88.5821 | -66.5919
292.5 | -88.0194 | -66.0292
303.75 | -87.705 | -65.7148
315 | -88.7939 | -66.8037
326.25 | -88.5619 | -66.5717
337.5 | -87.7857 | -65.7955
348.75 | -88.8043 | -66.8141
360 | -88.2578 | -66.2676

## Data Plots
Data Collection Plots
Date: | 2017-12-27
DUT Label: | asdf
DUT Serial Number: | fasdf